Fundamentals of random error theory and random estimation methods

errors in measurements

The analysis of random errors is based on the theory of random errors, which gives

ability to calculate a valid measured value with a certain guarantee

values and estimate possible errors.

The basis of the theory of random errors is the following assumptions:

with a large number of measurements, random errors of the same magnitude, but different

signs are equally common;

large errors are less common than small ones (probability of error

decreases as its value increases);

with an infinitely large number of measurements, the true value of the measured value

is equal to the arithmetic mean of all measurement results;

the appearance of a measurement result as a random event is described

the normal law of distribution.

In practice, a general and a selective set of measurements are distinguished.

By general set is meant all the set of possible values ​ ​

measurements or possible error values.

For the sample population, the number of measurements is limited, and in each particular

the case is strictly defined. Consider that, if, then the average value of this

the set of measurements is sufficiently close to its true value 1. interval evaluation with confidence

probabilities

For large sample and normal law of distribution of total estimated

the characteristic of the measurement is dispersion and coefficient of variation:

; . (1.1)

Dispersion characterizes the uniformity of measurement. The higher, the greater the spread

measurements.

The coefficient of variation characterizes variability. The higher, the more

variability of measurements relative to average values.

To assess the reliability of the measurement results are entered into consideration

the concepts of confidence interval and confidence probability.

Trusted is the range of values ​ ​ in which the true falls

value of measured value with specified probability.

The confidence probability (validity) of a measurement is the probability of

that the true value of the measured value falls within a given confidence interval,

i.e. to the zone. This value is defined as a fraction of a unit or as a percentage

Thus, the confidence interval characterizes the measurement accuracy of a given

samples, and the confidence probability is the validity of the measurement.

Example

Road section paving strength measured

with mean elasticity modulus and calculated value

standard deviation.

You must define the required measurement accuracy for different levels

confidence probability by taking the values ​ ​ of plate.1.1.

In this case, | respectively 2. determination of minimum quantity of measurements

To conduct experiments with the specified accuracy and reliability, you need to know that

the number of measurements in which the experimenter is confident of a positive outcome.

Therefore, one of the priorities in statistical methods of evaluation

is the establishment of a minimum but sufficient number of measurements for the data

conditions.

The task is to establish the minimum sample size (measurement numbers)

given confidence interval and confidence probability.

When making measurements, you need to know their accuracy: In studies, often by given accuracy and confidence

measurements determine the minimum number of measurements guaranteeing

required values and.

When we get Such a sequence of calculations may be adopted for determination.

1. A preliminary experiment is conducted with the number of measurements, which

is depending on the labour intensity of the experience from to.

2. Standard deviation is calculated by formula (1.1).

3. In accordance with the set objectives of the experiment, the required

measurement accuracy, which shall not exceed the accuracy of the instrument.

4. The normalized deviation is set, the value of which is usually set

(depends also on the accuracy of the method).

5. By the formula (2.2), the number is determined in the future during the experiment.

measurements must not be less than. Example

When receiving structures, the commission measures their width as one of the parameters.

The instructions require measurements to be made. Tolerance

parameter. If a pre-calculated value, you can

Determine with what validity the commission evaluates this parameter.

From formula (2.2) it is possible to write To find the limit of the confidence interval at small values ()

apply the method proposed in 1908 by the English mathematician Gosset V.S.

(alias Student).

Student distribution curves in the case (almost at) go to

normal distribution curves (Fig. 10.1).  Another setting of the task is possible.

From known small sample measurements, it is necessary to determine the confidence

probability provided that the error of the mean value does not go beyond

.

The problem is solved in the following sequence:

1. First, the average value is calculated, and.

2. Using the value known as itabl.1.2 determine the confidence probability.

Gross errors should be avoided in the processing of experimental data

series. The appearance of these errors is quite likely, and the presence of them significantly affects the result

measurements. However, before excluding a measurement, make sure:

that this is indeed a gross error, not a deviation due to statistical

scattering. Several methods are known for determining gross errors of a statistical series. Most

a simple way to exclude a sharply distinguished dimension from a series is to rule

"three sigma": the spread of random values ​ ​ from the average value should not exceed

. (2.5)

Methods based on use are more reliable

confidence interval.

Let there be a statistical series of small samples subject to the law of normal

distributions. If there are gross errors, the criteria for their occurrence are calculated by

to formulas where is the largest and smallest values from the measurements.

The maximum values arising from the

statistical variation, depending on confidence probability.

If, the value must be excluded from the statistical series as

gross error.

If the value is excluded.

After eliminating gross errors, new values are determined from or

measurements.

Table 2.1

Gross Error Criterion  The second method of establishing gross errors is based on the use of the criterion

Romanovsky V.I. and is also applicable for a small sample.

The procedure for detecting gross errors is as follows.

1.Set confidence probability and pott.2.2 depending on where

coefficient.

2.Compute the maximum permissible absolute error of a single measurement In case of deeper analysis of experimental data, this is recommended

sequence:

1. After obtaining experimental data in the form of a statistical series of its

systematic errors are analyzed and excluded.

2.Analysis of a series in order to detect gross errors and misses:

establish suspicious values or;

determining a standard deviation; calculated from (2.6) criteria and compared to, excluded from

need from the statistical series or and receive a new series from the new members.

3.Compute arithmetic mean, individual measurement errors and

RMS of the purified series.

4. Find the standard series of measurements, coefficient of variation.

5. If a large sample is given by a confidence probability or equation

significance and plate.1.1 are determined.

6. If the sample is small () depending on the accepted confidence probability and

the number of members of a series accepts the Student ratio; using formula (1.2)

for a large sample or (2.3) for a small sample, a confidence interval is determined.

Table 2.2 Table 2.3 7. The actual value of the analysed value is set as per (2.4).

8. The relative error () of the results of the measurement series is estimated at the given

confidence probability: If the error of the measurement series is commensurate with the instrument error, then

trust interval limits Let there be measurements (Table 2.3). Analysis of measuring instruments and results

showed that no systematic errors were found in the experiment. It is necessary

Find out if the measurements contain gross errors.

If you use the first method (criterion), then you need to calculate

arithmetic mean and deviation.

At the same time, it is convenient to use the formula. Since, the measurements in the experiment should be considered reproducible. If

to the contrary, that is, it would be necessary to increase the number of episodes or

number of measurements.